Portable Electrical Equipment Inspection & Test Record

| Type of check () |  |  |
| --- | --- | --- |
| Formal visual inspection |  | Date carried out: |
| Combined inspection & test (e.g. PAT) |  | Carried out by: |
| Other (specify) |  | Signature: |

What to check for:

| Body / casing | Damage - cracks, loose connections, parts missing, internal parts visible, burn marks, overheating smell, DIY repairs. |
| --- | --- |
| Lead & plug | Damage – cuts / fraying / crimped insulation, conductors visible, loose cable grip, correct fuse rating, loose connections, bent pins, broken cracked plug casing, signs of burning / overheating (also check mains sockets for damage). |
| Extension reels & cables | Damage as per ‘lead and plug’ checks above – note cable reels can overheat and burn (the ‘induction effect’) if not fully unwound when under large power demand. |

| Location of Equipment | Equipment Ref No. | Description of Electrical Equipment (include extension reels here) | Body / Case (pass / fail) | Lead & Plug (pass / fail) | Action / Comments (e.g. repair/scrap) | Next Check Date Due |
| --- | --- | --- | --- | --- | --- | --- |